Question: Describe a desired algorithm (the behaviour of software/hardware systems) in pseudocode terms or using a flowchart

Automated Irrigation System for Plants

(Considering Soil Moisture & Weather Information)

Concept

An automated system for watering plants depending on:

- The soil moisture level

- The time of the day

- Rainfall occurrence or forecast

- The temperature

Sensors Involved

- Soil moisture sensor

- Temperature sensor

- Rain sensor (or weather API equivalent)

- Real-time clock

Algorithmic Logic (What it does)

The system:

- Checks if soil is dry

- Checks if it recently rained or if there will be rainfall soon

- Water the plants only if needed

- Do not water during the hottest time of the day

- Stops watering once the required amount of moisture achieved

Pseudocode

START

moisture_threshold = 40

max_watering_time = 10 minutes

soil_moisture = input()

temperature = input()

rain_detected = input()

time_of_day = input()

IF soil_moisture < moisture_threshold THEN

IF rain_detected = TRUE THEN

DISPLAY "Not watering due to rain"

ELSE

IF time_of_day BETWEEN 12:00 AND 16:00 THEN

DISPLAY "Too hot, not watering"

ELSE

DISPLAY "Start watering"

start water_pump

watering_time = 0

WHILE soil_moisture < moisture_threshold AND watering_time < max_watering_time

DO WAIT 1 minute

watering_time = watering_time + 1

soil_moisture = input()

END WHILE

stop water_pump

DISPLAY "Watering stopped"

END IF

END IF

ELSE

DISPLAY "No need to water plants"

END IF

END